## Resolved Tickets
Ticket ID | Customer | Product | Subject | Severity | Opened Date | Resolved Date | Resolution Time (Days) | SLA Resolution Target (Days) | SLA Met | Resolved By | Engineering Escalation
TKT-4101 | Fenwick Aggregates | ProximaSense X4 | Unit fails self-test on power-up | Medium | 2026-01-01 | 2026-01-05 | 4 | 5 | Yes | Theo | No
TKT-4102 | Harrowgate Cement | XT-9 Rev B | Intermittent signal dropout | Low | 2026-01-05 | 2026-01-15 | 10 | 10 | Yes | Sofia | Yes
TKT-4103 | Fenwick Aggregates | ProximaSense X4 | Output chatter near target edge | Low | 2026-01-07 | 2026-01-11 | 4 | 10 | Yes | Theo | No
TKT-4104 | Fenwick Aggregates | ProximaSense X4 | Replacement mounting bracket request | High | 2026-01-09 | 2026-01-12 | 3 | 3 | Yes | Theo | No
TKT-4105 | Kessler Paper Mill | XT-9 Rev B | Reading drift after ambient temperature rise | Medium | 2026-01-09 | 2026-01-13 | 4 | 5 | Yes | Theo | No
TKT-4106 | Thornbury Power | XT-9 Rev C | Echo loss on foam surface | High | 2026-01-09 | 2026-01-11 | 2 | 3 | Yes | Theo | No
TKT-4107 | Barrow Tide Ports | XT-9 Rev C | Configuration tool connection error | Critical | 2026-01-12 | 2026-01-13 | 1 | 1 | Yes | Theo | No
TKT-4108 | Grayson Textiles | XT-9 Rev B | Reading drift after ambient temperature rise | High | 2026-01-21 | 2026-01-25 | 4 | 3 | No | Marcus | Yes
TKT-4109 | Sable Creek Gas | XT-9 Rev C | Calibration offset after install | Medium | 2026-01-23 | 2026-01-27 | 4 | 5 | Yes | Theo | No
TKT-4110 | Thornbury Power | XT-9 Rev B | Intermittent signal dropout | Low | 2026-01-27 | 2026-01-31 | 4 | 10 | Yes | Theo | No
TKT-4111 | Grayson Textiles | XT-9 Rev B | Firmware update failed mid-flash | Low | 2026-02-02 | 2026-02-06 | 4 | 10 | Yes | Theo | No
TKT-4112 | Stanmore Polymers | XT-9 Rev C | Echo loss on foam surface | High | 2026-02-06 | 2026-02-10 | 4 | 3 | No | Sofia | Yes
TKT-4113 | Delvecchio Packaging | ProximaSense X4 | Output chatter near target edge | Low | 2026-02-10 | 2026-02-16 | 6 | 10 | Yes | Theo | No
TKT-4114 | Sable Creek Gas | XT-9 Rev B | 4-20 mA output offset | High | 2026-02-12 | 2026-02-16 | 4 | 3 | No | Sofia | Yes
TKT-4115 | Sable Creek Gas | XT-9 Rev B | Firmware update failed mid-flash | Medium | 2026-02-13 | 2026-02-19 | 6 | 5 | No | Sofia | Yes
TKT-4116 | Stanmore Polymers | XT-9 Rev B | Reading drift after ambient temperature rise | Medium | 2026-02-17 | 2026-02-22 | 5 | 5 | Yes | Sofia | Yes
TKT-4117 | Harrowgate Cement | XT-9 Rev B | 4-20 mA output offset | Medium | 2026-02-19 | 2026-02-21 | 2 | 5 | Yes | Theo | No
TKT-4118 | Tallis Water Authority | XT-9 Rev B | False high-level alarm | High | 2026-02-20 | 2026-02-24 | 4 | 3 | No | Theo | No
TKT-4119 | Fenwick Aggregates | ProximaSense X4 | Cable gland leaking in washdown | Medium | 2026-02-25 | 2026-02-28 | 3 | 5 | Yes | Theo | No
TKT-4120 | Barrow Tide Ports | XT-9 Rev B | False high-level alarm | High | 2026-02-27 | 2026-03-03 | 4 | 3 | No | Theo | No
TKT-4121 | Ironbridge Foundry | ProximaSense X4 | Cable gland leaking in washdown | Medium | 2026-02-27 | 2026-03-02 | 3 | 5 | Yes | Theo | No
TKT-4122 | Barrow Tide Ports | XT-9 Rev B | Reading drift after ambient temperature rise | Low | 2026-03-03 | 2026-03-09 | 6 | 10 | Yes | Sofia | Yes
TKT-4123 | Fenwick Aggregates | ProximaSense X4 | Output chatter near target edge | Medium | 2026-03-03 | 2026-03-07 | 4 | 5 | Yes | Theo | No
TKT-4124 | Meridian Industrial | XT-9 Rev B | Firmware update failed mid-flash | Low | 2026-03-10 | 2026-03-18 | 8 | 10 | Yes | Sofia | Yes
TKT-4125 | Quenby Plastics | XT-9 Rev C | Modbus register map question | Low | 2026-03-11 | 2026-03-20 | 9 | 10 | Yes | Marcus | Yes
TKT-4126 | Stanmore Polymers | XT-9 Rev B | Reading drift after ambient temperature rise | Medium | 2026-03-12 | 2026-03-16 | 4 | 5 | Yes | Theo | No
TKT-4127 | Duvall Hydro | XT-9 Rev B | Firmware update failed mid-flash | Critical | 2026-03-13 | 2026-03-14 | 1 | 1 | Yes | Theo | No
TKT-4128 | Brannock Refinery | XT-9 Rev B | Intermittent analog output dropout, unit BRN-0042 | Medium | 2026-03-18 | 2026-03-19 | 1 | 5 | Yes | Theo | No
TKT-4129 | Delvecchio Packaging | ProximaSense X4 | Unit fails self-test on power-up | Low | 2026-03-20 | 2026-03-25 | 5 | 10 | Yes | Theo | No
TKT-4130 | Hendricks Chemical | XT-9 Rev C | Echo loss on foam surface | Low | 2026-03-24 | 2026-03-28 | 4 | 10 | Yes | Theo | No
TKT-4131 | Ironbridge Foundry | ProximaSense X4 | Output chatter near target edge | Medium | 2026-03-27 | 2026-04-03 | 7 | 5 | No | Marcus | Yes
TKT-4132 | Delvecchio Packaging | ProximaSense X4 | Output chatter near target edge | Medium | 2026-03-30 | 2026-04-02 | 3 | 5 | Yes | Theo | No
TKT-4133 | Quenby Plastics | XT-9 Rev C | Configuration tool connection error | Medium | 2026-03-30 | 2026-04-02 | 3 | 5 | Yes | Theo | No
TKT-4134 | Brannock Refinery | XT-9 Rev B | Analog output dropout, second unit BRN-0067 | High | 2026-03-31 | 2026-04-09 | 9 | 3 | No | Marcus | Yes
TKT-4135 | Delvecchio Packaging | ProximaSense X4 | Output chatter near target edge | High | 2026-04-03 | 2026-04-08 | 5 | 3 | No | Theo | No
TKT-4136 | Marrowfield Foods | FieldSense 200 | Enclosure condensation | Low | 2026-04-03 | 2026-04-18 | 15 | 10 | No | Theo | No
TKT-4137 | Thornbury Power | XT-9 Rev C | Modbus register map question | Medium | 2026-04-03 | 2026-04-08 | 5 | 5 | Yes | Theo | No
TKT-4138 | Brannock Refinery | XT-9 Rev B | Erratic readings on three units, two process lines offline | Critical | 2026-04-08 | 2026-04-09 | 1 | 1 | Yes | Marcus | Yes
TKT-4139 | Coldharbour Logistics | FieldSense 200 | PLC integration register mapping question | Low | 2026-04-14 | 2026-04-30 | 16 | 10 | No | Theo | No
TKT-4140 | Tallis Water Authority | XT-9 Rev B | Intermittent signal dropout | Medium | 2026-04-14 | 2026-04-18 | 4 | 5 | Yes | Theo | No
TKT-4141 | Hendricks Chemical | XT-9 Rev B | Intermittent signal dropout | Low | 2026-04-17 | 2026-04-29 | 12 | 10 | No | Marcus | Yes
TKT-4142 | Meridian Industrial | XT-9 Rev C | Modbus register map question | Medium | 2026-04-17 | 2026-04-24 | 7 | 5 | No | Theo | No
TKT-4143 | Coldharbour Logistics | FieldSense 200 | Enclosure condensation | High | 2026-04-21 | 2026-04-27 | 6 | 3 | No | Theo | No
TKT-4144 | Marrowfield Foods | FieldSense 200 | Vibration baseline alarm too sensitive | Medium | 2026-04-24 | 2026-05-01 | 7 | 5 | No | Theo | No
TKT-4145 | Riverton Brewing | FieldSense 200 | Vibration baseline alarm too sensitive | Low | 2026-04-24 | 2026-05-11 | 17 | 10 | No | Theo | No
TKT-4146 | Coldharbour Logistics | FieldSense 200 | Commissioning wizard stalls | Low | 2026-04-27 | 2026-05-05 | 8 | 10 | Yes | Theo | No
TKT-4147 | Riverton Brewing | FieldSense 200 | Commissioning wizard stalls | Low | 2026-04-28 | 2026-05-09 | 11 | 10 | No | Sofia | Yes
TKT-4148 | Ironbridge Foundry | ProximaSense X4 | Output chatter near target edge | Low | 2026-04-29 | 2026-05-14 | 15 | 10 | No | Theo | No
TKT-4149 | Quenby Plastics | XT-9 Rev B | Intermittent signal dropout | Low | 2026-05-01 | 2026-05-08 | 7 | 10 | Yes | Theo | No
TKT-4150 | Stanmore Polymers | XT-9 Rev B | 4-20 mA output offset | Medium | 2026-05-06 | 2026-05-20 | 14 | 5 | No | Sofia | Yes
TKT-4151 | Duvall Hydro | XT-9 Rev B | Firmware update failed mid-flash | Low | 2026-05-08 | 2026-05-18 | 10 | 10 | Yes | Theo | No
TKT-4152 | Whitlow Dairy | XT-9 Rev B | Firmware update failed mid-flash | Medium | 2026-05-13 | 2026-05-23 | 10 | 5 | No | Theo | No
TKT-4153 | Barrow Tide Ports | XT-9 Rev B | False high-level alarm | Low | 2026-05-14 | 2026-05-22 | 8 | 10 | Yes | Theo | No
TKT-4154 | Upton Cold Storage | FieldSense 200 | Dashboard shows stale readings | High | 2026-05-14 | 2026-05-19 | 5 | 3 | No | Sofia | Yes
TKT-4155 | Upton Cold Storage | FieldSense 200 | Vibration baseline alarm too sensitive | High | 2026-05-15 | 2026-05-19 | 4 | 3 | No | Theo | No
TKT-4156 | Carver Automation | FieldSense 200 | Demo unit not reporting after firmware configuration | Medium | 2026-05-18 | 2026-05-27 | 9 | 5 | No | Sofia | Yes
TKT-4157 | Fenwick Aggregates | ProximaSense X4 | Cable gland leaking in washdown | High | 2026-05-19 | 2026-05-25 | 6 | 3 | No | Marcus | Yes
TKT-4158 | Harrowgate Cement | XT-9 Rev C | Modbus register map question | Medium | 2026-05-19 | 2026-05-26 | 7 | 5 | No | Theo | No
TKT-4159 | Hendricks Chemical | XT-9 Rev C | Level reading lags during rapid tank fill | High | 2026-05-20 | 2026-05-28 | 8 | 3 | No | Sofia | Yes
TKT-4160 | Ironbridge Foundry | ProximaSense X4 | Replacement mounting bracket request | Low | 2026-05-21 | 2026-05-29 | 8 | 10 | Yes | Sofia | Yes
TKT-4161 | Marrowfield Foods | FieldSense 200 | Vibration baseline alarm too sensitive | Low | 2026-05-21 | 2026-05-29 | 8 | 10 | Yes | Marcus | Yes
TKT-4162 | Duvall Hydro | XT-9 Rev B | Firmware update failed mid-flash | Medium | 2026-05-22 | 2026-05-29 | 7 | 5 | No | Theo | No
TKT-4163 | Ironbridge Foundry | ProximaSense X4 | Output chatter near target edge | Low | 2026-05-22 | 2026-05-29 | 7 | 10 | Yes | Theo | No
TKT-4164 | Marrowfield Foods | FieldSense 200 | Dashboard shows stale readings | Medium | 2026-05-22 | 2026-05-29 | 7 | 5 | No | Marcus | Yes
TKT-4165 | Tallis Water Authority | XT-9 Rev C | Echo loss on foam surface | Low | 2026-05-26 | 2026-05-29 | 3 | 10 | Yes | Theo | No
TKT-4166 | Ironbridge Foundry | ProximaSense X4 | Unit fails self-test on power-up | Low | 2026-05-28 | 2026-05-29 | 1 | 10 | Yes | Theo | No